**VILLAGE OF COLFAX**  
DUNN COUNTY  
Request for Bid – Public Works Shop Ceiling Repair

The Village of Colfax will be accepting bids for repairing the Public Works Shop Ceiling. The **main ceiling**, approximately 2,400 sq. ft. has separated from the purlins and rafters. This section needs to be removed and replaced with new steel of the same like and quality. The **remaining ceiling**, approximately 3,200 sq. ft. will need to be inspected and additional fasteners will be needed to secure the ceiling to the rafters. There is **insulation in the ceiling** which shall be reused and additional added where needed.

**The project also needs the following items included as part of the bid:**   
**Infra-Red Heating Unit**  
Remove and replace existing sixty (60) ft. infra-red heating unit.

**Natural Gas Infra-Red Heating Unit – near overhead garage door.**Repair existing heating unit.

**Gas Piping to Heating Units**  
Remove and reinstall approximately 100 feet of gas piping.

**Gas Piping to Air Exchange Units**  
Remove and reinstall existing 38 feet of 1 inch gas piping.  
  
**Fresh Air Duct Work**  
Remove and repair and/or replace 68 feet of 12 inch fresh air round duct work.   
Remove and reinstall 50 feet of 12 inch fresh air round duct work.

**Brasch Nitrogen Dioxide/ Carbon Monoxide Gas Detector unit and Duct Work**  
Remove and reinstall gas detector unit and approximately 38 feet of Absolutaire duct work.

**Electrical**   
Remove and Replace two (2) ceiling fans and one (1) light fixture of same like and quality.

**Any additional items, suggestions or variations that you have, please itemize separately.**  
  
Notice is hereby given that sealed bids will be accepted by the Village of Colfax, 613 Main Street, Colfax, WI until 11:00 a.m., Wednesday, June 5th at which time the bids will be publicly opened. The Bid Sheet and advertisement can be found on the Village of Colfax website, [www.villageofcolfaxwi.org/Employment&Bids](http://www.villageofcolfaxwi.org/Employment&Bids). Please provide a certificate of insurance with your bid. This project will be easier to bid if you visit the site prior to completing bid. The Village reserves the right to reject any and all bids, to waive irregularities and informalities therein and to award the contract in our best interests.

Payment for project shall be made upon satisfactory completion and approval of the Village Board. Board meetings are the second and fourth Monday of each month with approved payments issued on the next payment date of the 15th or the last day of the month.

If you have any questions regarding the content of this bid request, please contact the Public Works Director at 715-308-0861.

Thank you.

Lynn M. Niggemann  
Administrator-Clerk-Treasurer

**Bid Form  
Village of Colfax, Wisconsin  
Request for Bid – Public Works Shop Ceiling Repair**

Proposal of (hereinafter

called "BIDDER"), organized and existing under the laws of the State of

doing business as to the Village of

Colfax, Wisconsin (hereinafter called "Village").

In compliance with your Advertisement for Bids, BIDDER hereby proposes to perform the Public Works Shop Ceiling Repair in accordance with the specifications **no later than July 30, 2019** and at the prices stated in the attached proposal forms. The Bid Sheet is a summarization of the proposal. By submission of this BID, each BIDDER certifies as to its own organization, that this BID has been arrived at independently, without consultation, communications, or agreement as to any matter relating to this BID with any other BIDDER or with any competitor.

BIDDER agrees to perform all work described in the Specification Documents for the following bid(s):

**Lump Sum Bid**

$

**Public Works Building Ceiling - Project Bid Price as Requested . . . . . . . . . . . . . . . . . . . . . . . . .**

Main Ceiling 2,400 sq. ft. (remove & replace) . . . . . Material Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Other Ceiling 3,200 sq. ft. (inspect, remove, re-install)

Material Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Insulation (reuse and add additional where needed) Material Cost $ \_\_\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Infra-Red Heating Unit (60ft.) . . . . . . . . . . . . . . . . . . Material Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Natural Gas Infra-Red Heating Unit (overhead door) Material Cost $ NA\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Gas Piping to Heating Units (remove & reinstall approx. 100 ft.)

Material Cost $ NA\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Gas Piping to Air Exchange Units (remove & reinstall approx. 38 ft.)

Material Cost $ NA\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fresh Air Duct Work (remove & repair &/or replace 68 ft.)

Material Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fresh Air Duct Work (remove & reinstall 50 ft.) . . . . . Material Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Gas Detector and Duct Work (remove & reinstall unit & 38 ft. duct work)

Material Cost $ NA\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Electrical – (remove & replace 2 ceiling fans & 1 light fixture)

Material Cost $ NA\_\_\_\_\_\_\_\_\_\_\_\_ Labor Cost $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Additional items, suggestions or variations**

Describe here or on an attached sheet. $\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

$\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

$\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

In submitting this bid, it is understood that all work must be completed in accordance with the time schedule set forth in this proposal form. The Village of Colfax reserves the right to reject any or all bids, to waive informalities, and to accept the bid proposal deemed most advantageous to the Village of Colfax. It is agreed that this bid will not be withdrawn for sixty (60) days. Upon the acceptance of this proposal, the successful Bidder shall be the Contractor and all references in the proposal to the Bidder shall apply to the Contractor for the year bid.

Contractor: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Contractor Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Email Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_